## גיליון1
| Forescout Technologies Israel Ltd |  |  |  | Stage A+B | Stage B
Construction cost estimate for 6th floor office bulding
24 Raul Wallenberg, Tel Aviv
Demolition and debris removal
Rebuilt area
1 | Electric and communication system cutoff
2 | Dismantling of light fixtures for reuse, including packing and storage
3 | Dismantling of electrical appliances for reuse
4 | Dismantling and removal of acoustic ceiling
5 | Drywall demolition
6 | Dismantling of carpentry and surfaces
7 | Removal of carpets
8 | Dismantling and removal of tiling in passageways
9 | Dismantling and removal of plaster covering under windows
10 | Dismantling of electrical and communication wires
11 | Dismantling of infrastructure tunneling
12 | Dismantling of airconditioning tunnels
13 | Dismantling of glass dividers
14 | Dismantling of smoke detectors for reuse
15 | Dismantling of mobile divider for reuse
16 | Dismantling of doors and doorframes
|  |  |  | Total | 60000 |  | 60000
| Construction |  |  |  |  | Quantity
1 | Construction of single layer drywall, including mineral wool insultion | m2 | 370 | 240 | 88800 | 150 | 36000 |  | 88800 |  | 36000
2 | Extra for 80 kg compression mineral wool insulation | m2 | 370 | 60 | 22200 | 150 | 9000 |  | 22200 |  | 9000
3 | Installment of drywall cornice over glass divider | meter | 33 | 300 | 9900 | 15 | 4500 |  | 9900 |  | 4500
4 | Installment of drywall cornice over structure for mobile divider | meter | 5 | 300 | 1500 |  |  |  | 1500 |  | 0
5 | Installment of metal structure for mobile divider | meter | 5 | 900 | 4500 |  |  |  | 4500 |  | 0
6 | Installment of plaster covering for pillars | m2 | 130 | 180 | 23400 |  |  |  | 23400 |  | 0
7 | Core concrete wall smoothing with plaster | m2 | 170 | 180 | 30600 |  |  |  | 30600 |  | 0
8 | Preperation of doorframes including reinforcements | unit | 14 | 400 | 5600 | 8 | 3200 |  | 5600 |  | 3200
9 | Supply and installment of connecting unit between drywall and screen window | unit | 10 | 400 | 4000 | 5 | 2000 |  | 4000 |  | 2000
10 | Supply and installment of connecting unit between glass dividers and drywall | unit | 13 | 800 | 10400 | 5 | 4000 |  | 10400 |  | 4000
11 | Formation of opening for glass in wall connecting room 607 and the passageway (see northern front), distribution | comp. |  | 8000 | 8000 | [5 empty] | 0
12 | (Northern front) reinforcing wall and preparation for glass structure between room 603 and passageway | comp. |  | 12000 | 12000 | [5 empty] | 0
13 | Obstruction of building walls with insulation and drywall at the back of the reception station | comp. |  | 3200 | 3200 | [5 empty] | 0
14 | (Southern front) construction of opening for window including reinforcement between room 611 and passageway | comp. |  | 8000 | 8000 |  | 8000 |  |  |  | 0
15 | Construction according to section 12 between room 616 and passageway | comp. |  | 12000 | 12000 | [5 empty] | 0
16 | Construction according to section 13 in southfacing rest area | comp. |  | 3200 | 3200 |  | 3200 |  |  |  | 0
17 | Construction of walls under windows at office perimeter | m2 | 230 | 280 | 64400 | 60 | 16800 |  | 64400 |  | 16800
|  |  |  | Total | 311700 |  | 86700
Tiling
5 | Supply wood boards and wall covering per specs | m2 | 92 | 500 | 46000 | 36 | 18000 |  |  | 46000 | 18000
6 | Supply and installment of polyurethane foam panels | meter | 435 | 40 | 17400 | 180 | 7200 |  |  | 17400 | 7200
7 | Supply and installment of borders between various tiling gaps | meter | 40 | 100 | 4000 | 15 | 1500 |  |  | 4000 | 1500
8 | Supply of tiles, tiling of kitchen walls | m2 | 20 | 500 | 10000 |  |  |  |  | 10000
|  |  |  | Total | 77400 |  | 26700
Ceiling construction
1 | Construction of plaster ceiling in areas 601-602 including 30m plaster covering |  | 80 | 500 | 40000 | Chapter still in planning, therefore at this point |  |  |  | 40000
| Per specs and simulation |  |  |  |  | division for calculation is 1/3 and 2/3
2 | Lowering plaster ceiling in conference room 622 per specs and simulations 42 m2 |  | 102 | 500 | 51000 |  |  |  |  | 51000
and 60m covering
3 | Lowering plaster ceiling in area 602 above island per specs and simulations 13m2 |  | 43 | 500 | 21500 |  |  |  |  | 21500
and 30 m covering
4 | Lowering plaster ceiling in area 602 above equipment cabinets per specs and simulations 10m2 |  | 23 | 500 | 11500 |  |  |  |  | 11500
and 13m covering
5 | Construction of plaster ceiling in room 621 shelter room including prep for vents | m2 | 16 | 300 | 4800 |  |  |  |  | 4800
6 | Lowering ceiling in area 611 per specs including preperation for lighting |  | 18 | 300 | 5400 |  |  |  |  | 5400
10m2 with 8m covering
7 | Lowering plaster in room 608 5m2 and 5m covering |  | 10 | 300 | 3000 |  |  |  |  | 3000
8 | Lowering plaster in room 607 according to room 611 section 6 |  | 18 | 300 | 5400 |  |  |  |  | 5400
9 | Creating lighting slot L18 L21 | meter | 10 | 100 | 1000 |  |  |  |  | 1000
10 | Creating paneled ceiling detail for lighting L4 L6 L7 L5 L17 | meter | 100 | 100 | 10000 |  |  |  |  | 10000
11 | Supply and installation of fineline acoustic ceiling per plans and specs | m2 | 425 | 350 | 148750 |  |  |  |  | 148750
12 | Supply and installation of Euruspan ceiling | m2 | 20 | 800 | 16000 |  |  |  |  | 16000
13 | Concrete ceiling foaming for acoustics | m2 | 1200 | 80 | 96000 |  |  |  |  | 96000
|  |  |  | Total | 414350 |  | 130000
414350
Water and piping
1 | Hot and cold water system for kitchen sink | box | 2 | 1800 | 3600 |  |  |  |  | 3600
2 | Two-way water heating system | box | 2 | 1800 | 3600 |  |  |  |  | 3600
3 | Concrete drilling to fifth floor and transport of greywater to sinks | box | 2 | 2000 | 4000 |  |  |  |  | 4000
4 | Preperation of aircondiioning drainage in PVC piping | box | 30 | 1200 | 36000 | 10 | 12000 |  |  | 36000
|  |  |  | Total | 47200 |  | 12000
Electric
Chapter still in planning, therefore at this point
| Supply and installation of work station with 4 plugs: |  |  |  |  | division for calculation is 1/3 and 2/3
1 | 2 UPS plugs and connection to ceiling connector box | unit | 91 | 1200 | 109200 |  |  |  |  | 109200
+2 communication tubes with pull down cord for the ceiling grid
2 | Supply and installation of Gewiss plugs and | unit | 60 | 230 | 13800 |  |  |  |  | 13800
| connection to ceiling/wall connector box | unit
3 | lighting electric box | box | 190 | 230 | 43700 |  |  |  |  | 43700
4 | Installation of embedded ceiling lighting fixture | unit | 180 | 100 | 18000 |  |  |  |  | 18000
and connection to connector box
5 | Installation of signage lighting fixture and connection to connector box | unit | 10 | 110 | 1100 |  |  |  |  | 1100
6 | Supply and installation of lighting swiitches | unit | 32 | 190 | 6080 |  |  |  |  | 6080
and connection to ceiling connector box
7 | Preparation of pull cord tube for air conditioning thermostat | unit | 30 | 130 | 3900 |  |  |  |  | 3900
8 | Preparation of pull cord tube for cameras/alarm/door opening | comp. | 40 | 100 | 4000 |  |  |  |  | 4000
9 | Supply and installation of shutoff switch for air conditioning including board equipment | comp. | 2 | 2200 | 4400 |  |  |  |  | 4400
10 | Supply and installation of main shutoff switchincluding board equipment | comp. | 2 | 2200 | 4400 |  |  |  |  | 4400
11 | Connection of grounding for metal items in structure and ceiling | comp. |  | 4200 | 4200
12 | Supply of main line from board to concrete ceiling | unit | 60 | 400 | 24000 |  |  |  |  | 24000
(main lines) connector boxes
13 | Same, electric boxes for air conditioning | box | 30 | 400 | 12000 |  |  |  |  | 12000
14 | Main line for 3-phase water heater | box | 2 | 1200 | 2400 |  |  |  |  | 2400
15 | Lighting point for emergency lighting in passageways and bathrooms | box | 16 | 230 | 3680 |  |  |  |  | 3680
16 | Power outlets for kitchens, direct line to board | box | 14 | 400 | 5600 |  |  |  |  | 5600
17 | HDMI + excavation in concrete floor and preparation of electric and communications tubing | comp. | 3 | 2400 | 7200 |  |  |  |  | 7200
| excavation in concrete floor and preparation of electric and communications tubing in work stations far from wall | comp. | 14 | 1800 | 25200 |  |  |  |  | 25200
18 | Excavation in concrete floor and preparation of electric and communications tubing in reception | comp. | 2 | 1800 | 3600 |  |  |  |  | 3600
19 | HDMI + excavation in concrete floor and preparation of electric tubing in kitchen | comp. | 3 | 1800 | 5400 |  |  |  |  | 5400
20 | Adaption of existing electric boards to new plans | comp. |  |  | 30000
21 | Adaption of electric boards to UPS system | comp. |  |  | 20000
22 | Supply and instalaltion of communication and electric tubing network | meter | 300 | 150 | 45000 |  |  |  |  | 45000
|  |  | Total |  | 396860 |  | 120000
Paint work according to specifications
Divided as 2/3 and 1/3
1 | Paint type per client request requires full spackling | m2 | 1700 | 120 | 204000 |  |  |  |  | 204000
for perfectly smooth surface, and primer coat
2 | Wall and ceiling painting in several shades and materials per architectural specs | m2 | 1700 | 90 | 153000 |  |  |  |  | 153000
|  |  |  | Total | 357000 |  | 119000
General
| Protection of concrete floor throughout rennovations | m2 | 560 | 40 | 22400 | 120 | 4800 |  |  | 22400
| Coordination management and overseeing suppliers and subcontractors | comp. |  |  | 60000 | Third | 20000
| Cleaning crew prior to transfer | comp. |  |  | 18000 | Third | 9000
| Removal of construction debris, including debris by external contractors and cleaning throughout rennovations | comp. |  |  | 20000 | Third | 6000
|  |  |  | Total | 120400 |  | 39800
Total cost of main contractor work, minus supply and installation
by Gumtechnica Flooring
Assesment created based on a conceptual plan, with no specific
| blueprints for systems and therefore not final quote |  |  | Total | 1784910 | General | 620900 | Stage 2
| Total project cost assessment |  |  |  | Stage 1 |  | Stage 2
| Demolition of built area | [5 empty] | 60000
| Construction |  |  |  | 311700
| Flooring |  |  |  | 77400
| Ceiling |  |  |  | 414350
| Water and piping |  |  |  | 47200
| Electric |  |  |  | 396860
| Paint |  |  |  | 357000
| General |  |  |  | 120400
[6 empty] | Stage 1+2 | Stage 2 |  | Stage 1 only
| Total work head contractor |  |  |  |  | 1784910 | 620900 |  | 1446410
[6 empty] | Stage 1 | Stage 2
| Rennovation of common areas - see separate document |  |  |  | 282400 | 282400
|  |  |  | Total |  | 2067310 |  | .
.