The indicated classification does not prejudge the conformity of marketed materials with the samples submitted to the tests and under no circumstances, this document should not be considered as type approval or certification of the product in the sense of the L 115-27 article of the consumption’s code and of the law dated June 3rd, 1994.

If this report is being issued by e-mail and/or on an electronic medium, only the hard copy of the report signed by XXX shall prevail in the event of a dispute.

The reproduction of this classification report is only authorised in its integral form. It comprises 3 pages.

Addition of a new trade name.

The document XXXX dated July 13th, 2012 cancels and replaces the document

XXXX dated December 09th, 2011.

1. Introduction

This classification report defines the classification assigned to the above-mentioned product(s) in accordance with the procedures given in the NF EN 13501-1 standard.

2. Product description

Mineral wool made of fibreglass bonded with a thermosetting resin, presented uncoated. Nominal thicknesses: from 40 to 160 mm.

Nominal density: 35 kg/m3. Colour: yellow.

3. Tests reports and tests results in support of this classification

3.1 Tests reports

Name of laboratory

Name of sponsor

Test identification

Test report

Nos.

Test method

Extension file

-

EN ISO 1716

EN ISO 1182

3.2 Tests results

35 kg/m

(-) means: not applicable

4. Classification and direct field of application

4.1 Reference of the classification

This classification has been carried out in accordance with clause(s) 11.8.1 of the

NF EN 13501-1 standard.

4.2 Classification

Fire behaviour

Smoke production

Flaming droplets or debris

A1

-

Non applicable

,

Non applicable

Classification: A1

4.3 Field of application

This classification is valid for the following product parameters:

- A range of nominal thicknesses from 40 to 160 mm.

- A nominal density of 35 kg/m3.